## SUMMARY
CONSTRUCTION OF CYTO-TOXIC WASTE MANAGEMENT FACILITY
Bill of Quantities
SUMMARY SHEET
Bill No | Item | Amount
1 | Preliminaries | 0
2 | Earth works | 0
3 | Concrete works | 0
4 | Masonry works | 0
5 | Plastering works | 0
6 | Painting works | 0
7 | Roofing works | 0
8 | Electrical works | 0
9 | Plumbing works | 0
10 | Doors and windows | 0
11 | Fire fighting | 0
12 | Tiling works | 0
13 | Miscellaneous Works | 0
| Sub Total | 0
| GST 8% | 0
| GRAND TOTAL | 0

## ADDU CYTO
CONSTRUCTION OF CYTO-TOXIC WASTE MANAGEMENT FACILITY
ADDU CITY
Bill of Quantities
(IUL)88-POPS/88/2025/674
No | Item | Unit | Quantity | Rate | Amount
Note: All materials should be submitted for approval of the Client
1 | Preliminaries
1.1 | Mobilization to site | LS | 1
1.2 | Site management cost including set up of temporary services for contractor's services as maybe ncessary | LS | 1
1.3 | Setup sign boards on site as specified | LS | 1
1.4 | Clean up site upon completion of works | LS | 1
1.5 | Demobilization | LS | 1
2 | Earth works
Filling, ground levelling and compaction of site.
2.1 | Ground filling with sand, levelling and compaction work for site. Rate shall include for any required cut and fill, removal any waste on the site. Finished site ground level shall be at minimum +50mm existing ground level. Demolition waste materials may be used for filling after appropriate gradation along with sand (any steel or other materials must be removed). | m² | 30.77
Excavation work for foundations as follows
2.2 | Tie beams | m³ | 2.472
2.3 | Setting up rainwater drain pits in the locations shown | LS | 1
2.4 | Setting up drain pits in the locations shown | LS | 1
3 | Concrete works
Rate shall include all formwork, reinforcement, casting of concrete as per drawing and specifications.
3.1 | 75mm concrete floor slab according to the slope shown in drawing. Reinforcement for the slab shall be R6@150 BW single layer | m³ | 1.8454
3.2 | TB Tie beam cast according to drawing. Reinforcement shall be as shown on drawing | m³ | 1.854
3.3 | RB Roof beams for office/store building and hazardous waste storage building walls cast according to drawing. Reinforcement shall be as shown on drawing. | m³ | 0.7725
3.4 | L1, S1 Lintel and sill beams as required cast according to drawing. Reinforcement shall be as shown on drawing. | LS | 1
3.5 | Rainwater drain pits as shown on drawing. Rate shall include the connection of downpipes to the drain pits, providing gravel, bends, fittings and others as maybe necessary. | LS | 1
3.6 | Drain pits as shown on drawing. | LS | 1
4 | Masonry works
Masonry walls of 100mm thick masonry blocks
4.1 | Hollow block masonry walls | m² | 78.28
5 | Plastering works
Plastering on masonry block walls, 25mm thickness plastering on each side of walls
5.1 | Hollow block masonry walls | m² | 156.56
6 | Painting works
GENERAL
Emulsion paint coating: one primer coat and two top coat. Wall paint color: Offwhite (to be approved by Client)
6.1 | Hollow block masonry walls | m² | 156.56
7 | Roofing works
7.1 | Pre-painted galvanized steel roofing sheet (maroon color) Rate shall include all necessary laps, fastening, fixtures and sealing of joints | m² | 24.095
7.2 | Roof flashing. Rate shall include fastening and sealing of joints | m | 14.1
7.3 | Timber rafters - 100 x 50mm. Rate shall include for all fixing and joints | m | 27.1111
7.4 | Timber battens - 50 x 38mm. Rate shall include for all fixing and joints. | m | 40.6667
7.5 | Provide a 5" pre-painted galvanized roof gutter with 3" PVC down pipes as shown in drawings. Rates shall include all materials and fastenings. | LS | 1
8 | Electrical works
GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body.
(c) The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(d) The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus soil.
(e) Rates shall include switches, electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(h) Contractor shall provide all cabling, wiring, conduits, etc. required for completing all electrical installations.
Supply and installation:
8.1 | Electric meter, 4 pole MCCB, Single Phase distributions boards and 3 Phase distribution boards as shown on drawing. Earth link and connection to earth rod with proper earth pit should be provided as well | LS | 1
8.2 | 16 sqmm 4 core power supply cable from nearest distribution box to main distribution board. | m | 100
8.3 | 16 sqmm 4 core power supply cable for internal wiring from main distribution board to all other distribution boards. | LS | 1
8.4 | 13A double sockets. (weather proof) Rate shall include connection to circuit breaker using 6sqmm power supply cable and all necessary accessories | no | 3
8.5 | 20W ceiling mount LED light Rate shall include switches near respective entrance doors and connection to circuit breaker | no | 4
8.6 | 20W wall mount exterior LED light Rate shall include switches near respective entrance doors. Rate shall include connection to circuit breaker | no | 2
8.7 | 10W wall mount LED emergency light Rate shall include required sockets and connection to circuit breaker | no | 1
8.8 | Ceiling fans Rate shall include fan controller near the respective entrance doors, connection to circuit breaker and all necessary accessories | no | 1
8.9 | 9,000BTU AC (Inverter) Rate shall include required socket, connection to circuit breaker and all necessary accessories | no | 1
8.1 | Exhaust fans Rate shall include provision of switch near the respective entrance, connection to circuit breaker and all necessary accessories | no | 1
9 | Plumbing works
Water piping works
9.1 | Complete construction of fresh water pipe work including all pipe work, vent pipe work, fittings, valves, etc including outlet pipes to PVC taps, plumbing to toilet and wash area as shown in drawings. | LS | 1
Sewer network connection and piping works
9.2 | Provide sewer / drain piping connections as shown in the drawings. Rate shall include connection piping of flush toilet, drains to the septic tank/leachate well, provision of appropriate drain, bends, fittings and others as deemed necessary. | LS | 1
Fittings
9.3 | Wash basin complete with pedestal and gully trap. | no | 1
9.4 | PVC taps | no | 2
9.5 | Floor drains | no | 2
9.6 | Supply 25mm diameter flexible hose | m | 25
10 | Doors and windows
GENERAL
All doors should be lockable.
Fabrication and installation of doors:
10.1 | D1. Supply and installation of aluminium door as per drawings and specifications. Rate shall include all cuts, sealants,screws etc necessary for proper fixing of the door. | no | 3
10.2 | W1. Supply and installation of aluminium louver window as per drawings and specifications. Rate shall include all cuts, sealants,screws etc necessary for proper fixing of the door. | no | 1
10.3 | W2. Supply and installation of aluminium fixed glass window as per drawings and specifications. Rate shall include all cuts, sealants,screws etc necessary for proper fixing of the door. | no | 2
11 | Fire fighting
Supply and installation of fire fighting equipment
11.1 | Wet Chemical 6Ltr with Cabinet for indoor areas | no | 2
11.2 | Water 9Ltr with Cabinet for Office Area - Outside | no | 1
11.3 | CO2 2KG with Cabinet for Office Area - Outside | no | 1
12 | Tiling works
12.1 | Supply and laying 300x300mm ceramic tiles (white color) for office. | m² | 18.91
13 | Miscellaneous Works
Damp proof membrane
13.1 | Provide 500 gauge HDPE damp proof membrane below floor slabs | m² | 24.91
Ceiling works
13.2 | Provide suspended ceiling using 6mm gypsum board inside office, locker room and toilet. Rate shall include all ceiling support work, applying putty and painting the surface with primer and two coats of finishing paint. (Nippon paint offwhite 5039 or equivalent) | m² | 18.91
Sign boards
13.3 | Fabricate and install 900 x 600 name board on 5mm plastic sheet as per design specifications provided by client. All letters, logos and symbols used on the board should be acrylic painted. | no | 1
13.4 | Fabricate and install 900 x 300 fire safety sign boards on 5mm plastic sheet as per design specifications provided by client. All letters, logos and symbols used on the board should be acrylic painted. | no | 1
|  |  |  | TOTAL | 0